| M S RAMAIAH INSTITUTE OF TECHNOLOGY USN | 1 | M | S |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

(AUTONOMOUS INSTITUTE, AFFILIATED TO VTU)

BANGALORE – 560 054

SEMESTER END EXAMINATIONS – MAY/JUNE 2016

| Course & Branch | : | B.E. – Electrical & Electronics Engg. | Semester | : | VI |
| --- | --- | --- | --- | --- | --- |
| Subject | : | Generation , Economics & Reliability Aspects of Power Systems | Max. Marks | : | 100 |
| Subject Code | : | EEPE42 | Duration | : | 3 Hrs |

Instructions to the Candidates:

- Answer one full question from each unit.

|  |  | UNIT- I |  |  |
| --- | --- | --- | --- | --- |
| 1. | a) | Explain the main purpose of superheater. What are the advantages of superheated steam? | C01 | (06) |
|  | b) | Draw the line diagram of a diesel power station and discuss its operation. | C01 | (10) |
|  | c) | Explain the functions of the following: (i) surge tank and (ii) spillways | C01 | (04) |
| 2 | a) | Explain the main stages of a nuclear power station with suitable diagram . | C01 | (08) |
|  | b) | How are the turbines classified? Explain the difference between impulse and reaction turbines? | C01 | (06) |
|  | c) | Briefly explain the necessity of feed water treatment in a steam power plant. | C01 | (06) |
|  |  | UNIT-II |  |  |
| 3. | a) | A power system requires a maximum load of 80MW at 35% load factor. It can be supplied by any of the following schemes (i)A steam plant capable to supply the whole load (ii) A steam plant with hydel plant where energy supplied by steam plant is 120x106 kWh/ year with a maximum load of 50MW Cost; Steam plant; Hydro plant. Capital cost; Rs. 600/kW installed; Rs.1400/kW installed. Operating cost; 4.8 paise/kWh; 1.2 paise/kWh. Transmission; negligible; 0.3 paise/kWh. Assume interest and depreciation at 12% of capital for steam plant and 10% of capital for hydro plant. Calculate the annual cost and cost/kWh for each plant (iii) If the whole load is supplied by a nuclear plant, determine annual cost. Take capital cost of Rs.2500/kW and running cost of 2.5 paise/kWh. Assume interest and depreciation as 10%per annum | C01 | (10) |
|  | b) | Discuss the point to be taken into consideration while selecting the size and the number of generating units. | C01 | (04) |
|  | c) | The value of the new industrial plant is Rs. 5x106 and its salvage value is Rs. 5x105 at the end of 15 years. Determine the value of the plant at the end of 8 years using (i) straight line method (ii) reducing balance method (iii) sinking fund method at 10% compounded annually. | C01 | (06) |
| 4. | a) | The annual load duration curve for a typical heavy load being served by a steam station, a run of river station and a reservoir hydroelectric station is shown in fig 4a. The ratio of number of units supplied by these stations is steam : run-of river: reservoir:: 7:4:1. The run of river station is capable of generating power continuously and works as a base load station. The reservoir station works as a peak load station. Determine (i) maximum demand of each station and (ii) load factor of each station. Fig 4.a | C01 | (08) |
|  | b) | Determine the load factor at which the cost of supplying a unit of electricity is same in diesel station as in a steam station if the respective annual fixed and running charges are as follows: Diesel – Rs.(30/kW+0.05/kWh); Steam – (Rs. 120/kW+0.0125/kWh) | C01 | (06) |
|  | c) | An electric supply company having a maximum load of 50MW generates 18x107 units per annum and the consumers have an aggregate demand of 75MW. The annual expenses including capital charges are: For fuel =Rs 90 lakhs; Fixed charges concerning generation =Rs28 lakhs;Fixed charges concerning transmission and distribution =Rs 32 lakhs. Assuming 90% of the fuel cost is running charge and the loss in transmission and distribution are 15% of kWh generated, deduce a two part tariff to find the actual cost of supply to the consumers. | C01 | (06) |
|  |  | UNIT -III |  |  |
| 5. | a) | Explain the effect of rounding on the generation model. | C02 | (06) |
|  | b) | Discuss Adequacy and Security of the system with respect to power system reliability. | C02 | (08) |
|  | c) | Explain the need for different hierarchical levels in power system reliability evaluation. | C02 | (06) |
| 6. | a) | Explain the cost reliability curve. | C02 | (06) |
|  | b) | Discuss failure analysis in the context of power system reliability considerations. | C02 | (08) |
|  | c) | Enumerate the difference between a two state and three state model. | C02 | (06) |
|  |  | UNIT –IV |  |  |
| 7. | a) | Define the following terms i)LOLE ii)LDC iii)EIU | CO2 | (03) |
|  | b) | Classify the maintenance in reliability. | CO2 | (06) |
|  | c) | A system having three units whose capacities failure rate and repair rate are given in the table below .Prepare a capacity outage probability table Unit; Capacity(Mw); Failure rate; Repair rate. 1; 50; 1; 99. 2; 100; 1; 49. 3; 200; 1.1; 72.23. | CO2 | (08) |
|  | d) | State true or False : i)Domestic load can be firm load ii)Base load is supplied by Diesel generation iii) Lightning strikes causes a forced outage of the system | CO2 | (03) |
| 8. | a) | Explain the significance of Monte Carlo simulation technique in power system. | CO2 | (05) |
|  | b) | Classify the outages in power systems. | CO2 | (05) |
|  | c) | For the following curve find the EIR with system having two units with capacities 25MW & 50 MW which have repair rate as 0.49 f/year & failure rate as 0.01 f/year ? | CO2 | (10) |
|  |  | UNIT – V |  |  |
| 9. | a) | Write a brief note on disadvantages AC Load flow. | CO2 | (07) |
|  | b) | Explain the factors which affect the spinning reserve. | CO2 | (06) |
|  | c) | List and explain the assumptions taken for the station originated outages. | CO2 | (07) |
| 10. | a) | Explain how interruption cost of Residential customer varies with different factors. | CO3 | (05) |
|  | b) | Define the terms: i)SAIFI ii)SAIDI iii)CAIDI iv)CAIFI v)ASAI | CO3 | (10) |
|  | c) | What are the preparatory cost taken for the residential customers? Explain briefly. | CO3 | (05) |

**********************