RAMAIAH

Institute of Technology

| USN | 1 | M | S |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

(Autonomous Institute, Affiliated to VTU)

(Approved by AICTE, New Delhi & Govt. of Karnataka)                       Accredited by NBA & NAAC with ‘A’ Grade

MAKEUP EXAMINATIONS – FEBRUARY 2020

| Program | : | B.E.: Electrical and Electronics Engineering | Semester | : | VII |
| --- | --- | --- | --- | --- | --- |
| Course Name | : | High Voltage Engineering | Max. Marks | : | 100 |
| Course Code | : | EE73 | Duration | : | 3 Hrs |

Instructions to the Candidates:

- Answer one full question from each unit.

|  |  |  | UNIT – I |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | a) |  | What is Ionization process? Explain any three types of Ionization processes taking place in gases. | CO1 | (08) |
|  | b) |  | What is Corona discharge? Explain clearly the breakdown in non-uniform field. | CO1 | (06) |
|  | c) |  | In an experiment in a certain gas it was found that the steady state current is 5.5x10-8 Amp at 8 kV at a distance of 0.4 cm between plane electrodes. Keeping the field constant and reducing the distance to 0.1 cm results in a current of 5.5x10-9 Amp. Calculate the Townsend’s primary Ionization coefficient. Neglect the secondary ionization effects. | CO1 | (06) |
| 2. | a) |  | Define Townsend’s first and second Ionization coefficients. Hence derive the Townsend’s current growth equation. | CO1 | (08) |
|  | b) |  | Explain briefly the formative time lag and stastical time lag. | CO1 | (06) |
|  | c) |  | State and explain Paschen’s law. | CO1 | (06) |
|  |  |  | UNIT – II |  |  |
| 3. | a) |  | Explain any two theories that explain breakdown in commercial liquid dielectrics. | CO1 | (10) |
|  | b) |  | Discuss in detail the ‘Intrinsic breakdown’ of solid dielectric. | CO1 | (06) |
|  | c) |  | State the important properties of insulation liquids. | CO1 | (04) |
| 4. | a) |  | Define ‘Intrinsic Breakdown strength’ of solid insulating materials. Explain the Thermal breakdown phenomena in solids. | CO1 | (08) |
|  | b) |  | With a neat circuit diagram describe the Cockroft Walton’s DC voltage multiplier circuit for the generation of high DC voltages. | CO2 | (06) |
|  | c) |  | Describe the suspended particle theory of breakdown in liquids. | CO1 | (06) |
|  |  |  | UNIT – III |  |  |
| 5. | a) |  | With neat circuit diagram explain the Series resonant transformer for the generation of power frequency high AC voltages. State its advantages. | CO2 | (08) |
|  | b) |  | Write brief note on Tesla Coil. | CO2 | (06) |
|  | c) |  | Show that the output voltage of a single stage impulse generator circuit is the difference of two exponentially decreasing waves. | CO3 | (06) |
| 6. | a) |  | Describe the method of generation impulse currents. Derive the related mathematical formulae. How are capacitors arranged in such circuits? | CO3 | (08) |
|  | b) |  | Define the standard switching surge voltage. Describe the different circuits for the generation of switching surge over voltages. | CO3 | (08) |
|  | c) |  | An impulse voltage generator consists of 6 stages with each stage having a capacitance of 0.125 µF. The charging voltage is 200 kV/stage. Calculate: (i) The energy output of generator when all stages are connected in series. (ii) Energy when the 6 capacitors are reconnected in 3 stages and the charging voltage per stage is kept the same as 200 kV. | CO3 | (04) |
|  |  |  | UNIT – IV |  |  |
| 7. | a) |  | Discuss the salient features of series capacitance peak voltmeter used for the measurement of high voltages. Obtain the expression for the peak voltage measurement using such device. | CO4 | (08) |
|  | b) |  | Explain with the help of neat sketch the construction and working of electrostatic voltmeter for the measurement of high AC and DC voltages. List the advantages of such device. | CO4 | (12) |
| 8. | a) |  | Describe with a neat sketch the procedure for measurement of high AC, DC and impulse voltages using standard sphere gap. Also mention the various factors which influence such measurements. | CO4 | (10) |
|  | b) |  | Discuss the principle of operation of Generating voltmeter used to measure high DC voltages. What are its advantages and limitations? | CO4 | (08) |
|  | c) |  | List the merits and demerits of high ohmic series resistance with microammeter method for measurement of high DC voltages. | CO4 | (02) |
|  |  |  | UNIT – V |  |  |
| 9. |  | a) | Explain with the help of neat circuit diagram and vector diagram the method of measurement of capacitance and tanδ using High voltage Schering Bridge. | CO5 | (10) |
|  |  | b) | Explain the different power frequency high voltage tests and impulse voltage test conducted on bushings. | CO5 | (10) |
| 10. |  | a) | What is partial discharge? Explain with neat diagram the straight detection method for the measurement of partial discharge. | CO5 | (10) |
|  |  | b) | Explain the method impulse testing of high voltage transformers. What is the procedure adopted for locating the failure. | CO5 | (08) |
|  |  | c) | List the different tests to be carried out on insulators. | CO5 | (02) |

***************