RAMAIAH

Institute of Technology

| USN | 1 | M | S |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

(Autonomous Institute, Affiliated to VTU)

(Approved by AICTE, New Delhi & Govt. of Karnataka)                       Accredited by NBA & NAAC with ‘A’ Grade

SEMESTER END EXAMINATIONS –  JANUARY 2019

| Course & Branch | : | B.E: Electrical and Electronics Engineering | Semester | : | VII |
| --- | --- | --- | --- | --- | --- |
| Subject | : | High Voltage Engineering | Max. Marks | : | 100 |
| Subject Code | : | EEPE43 | Duration | : | 3 Hrs |

Instructions to the Candidates:

- Answer one full question from each unit.

|  |  | UNIT- I |  |  |
| --- | --- | --- | --- | --- |
| 1. | a) | What is Paschen’s law? Explain with necessary diagram. | CO1 | (08) |
|  | b) | Explain time lag in breakdown. | CO1 | (06) |
|  | c) | What is corona? Explain with suitable expressions. | CO1 | (06) |
| 2. | a) | What is ionization? List and discuss the causes of primary and secondary ionization process in a gaseous dielectric medium. | CO1 | (10) |
|  | b) | With relevant equations, discuss the formation of avalanche and leading to streamer causing the breakdown of gases. | CO1 | (07) |
|  | c) | Mention the limitations of Townsend’s Criterion | CO1 | (03) |
|  |  | UNIT- II |  |  |
| 3. | a) | With necessary equations, explain the suspended particle theory covering the role of viscous force and diffusion. | CO1 | (10) |
|  | b) | What is stressed oil volume theory for the breakdown in liquid dielectric? | CO1 | (04) |
|  | c) | Explain the role of treeing and tracking in the breakdown of solid dielectric. | CO1 | (06) |
| 4. | a) | What is thermal breakdown in liquid dielectrics and sketch a graph to explain the thermal equilibrium, stable and unstable conditions. | CO1 | (08) |
|  | b) | How does the ‘internal discharge’ phenomenon lead to breakdown in solid dielectrics? | CO1 | (08) |
|  | c) | What is intrinsic breakdown of a solid dielectric? | CO1 | (04) |
|  |  | UNIT- III |  |  |
| 5. | a) | With a neat sketch explain the generation of HVAC using Cascaded arrangement of transformers. | CO3 | (08) |
|  | b) | Mention the advantages of High Frequency Transformers. | CO2 | (04) |
|  | c) | Discuss the working of Electrostatic generator with neat sketch. | CO3 | (08) |
| 6. | a) | Explain half wave rectifier for the generation of HVDC and list the limitations. | CO3 | (08) |
|  | b) | Derive expressions for ripple, voltage drop, optimum number of stages and maximum possible output voltage of Cockroft-Walton cascaded generator. | CO3 | (12) |
|  |  | UNIT- IV |  |  |
| 7. | a) | Why lightning impulse and switching impulse are to be generated? | CO4 | (04) |
|  | b) | What is the need of Marx generator? And explain its components. | CO4 | (10) |
|  | c) | Discuss different methods available for the triggering of the two spheres in a Marx generator. | CO4 | (06) |
| 8. | a) | Draw different switching impulse circuits and explain any one in detail. | CO4 | (10) |
|  | b) | Draw a current impulse wave shape and with neat circuit explain the generation of current impulse. | CO4 | (08) |
|  | c) | Explain the need for generation of rectangular pulse. | CO4 | (02) |
|  |  | UNIT- V |  |  |
| 9. | a) | Explain the Chubb Fortscue method for measurement of high voltage AC peak with necessary circuit diagram and relevant wave shapes. | CO5 | (10) |
|  | b) | Describe the principle, construction and working of generating voltmeter used for measuring high DC voltages. | CO5 | (10) |
| 10. | a) | List the factors affecting the measurement of HVAC using standard spheres. | CO5 | (04) |
|  | b) | Explain the resistance potential divider for very low impulse voltages and fast rising pulses. | CO5 | (08) |
|  | c) | Explain with circuit diagram how micro ammeter with high ohmic series resistance can be used to measure high voltage DC and what its limitations are. | CO5 | (08) |

****************