RAMAIAH

Institute of Technology

| USN | 1 | M | S |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

(Autonomous Institute, Affiliated to VTU)

(Approved by AICTE, New Delhi & Govt. of Karnataka)                       Accredited by NBA & NAAC with ‘A’ Grade

SEMESTER END EXAMINATIONS –  JANUARY 2020

| Program | : | B.E.: Electrical and Electronics Engineering | Semester | : | VII |
| --- | --- | --- | --- | --- | --- |
| Course Name | : | High Voltage Engineering | Max. Marks | : | 100 |
| Course Code | : | EE73 | Duration | : | 3 Hrs |

Instructions to the Candidates:

- Answer one full question from each unit.

|  |  | UNIT- I |  |  |
| --- | --- | --- | --- | --- |
| 1. | a) | Define Townsend’s first and second ionization coefficients and derive an expression for the current growth in a gas discharge due to secondary ionization. | CO1 | (08) |
|  | b) | List and discuss in detail, primary and secondary factors causing the breakdown of gaseous medium. | CO1 | (08) |
|  | c) | Discuss the limitations of Townsend’s theory. | CO1 | (04) |
| 2. | a) | Determine the breakdown voltage of air gap 2mm and 5mm lengths under uniform field and standard atmospheric conditions. Also find the voltage if atmospheric pressure is 750mm of Hg and temperature 35oC. | CO1 | (06) |
|  | b) | What are electronegative gases? Explain why these gasses offer higher dielectric strength? | CO1 | (06) |
|  | c) | With relevant equations, explain formation of avalanche leading to streamer and further causing the breakdown of gases. | CO1 | (08) |
|  |  | UNIT- II |  |  |
| 3. | a) | What is intrinsic breakdown of a solid dielectric? | CO1 | (04) |
|  | b) | Discuss the breakdown of liquid dielectric due to suspended particles in it covering the role of viscosity and diffusion. | CO1 | (08) |
|  | c) | With neat sketch explain the construction and working of Van De Graff Generator. | CO2 | (08) |
| 4. | a) | What is condition for breakdown of solid dielectric due to electromechanical stress? Derive an expression for maximum electrical stress that a solid dielectric can withstand. | CO1 | (08) |
|  | b) | List any four limitations of a Half wave rectifier. | CO2 | (04) |
|  | c) | A ten stage Cockcroft-Walton circuit has all capacitors of 0.05μF. The secondary voltage of the supply transformer is 100 kV (RMS) at a frequency of 100 Hz. If the load current is 1 mA, determine (i) voltage regulation (ii) the ripple (iii) the optimum number of stages for maximum output voltage (iv) the maximum output voltage. | CO2 | (08) |
|  |  | UNIT- III |  |  |
| 5. | a) | With neat sketch, explain the working of a Cascade Transformer for the generation of High voltage and discuss its limitations. | CO2 | (08) |
|  | b) | 12-stage impulse generator has capacitors each rated at 0.3 μF, 150 kV. The capacitance of the test specimen is 400 pF. Determine the wave front and wave tail resistance to produce at 1.2/50μ sec. impulse wave. | CO3 | (04) |
|  | c) | Draw a Marx generator and explain its components. | CO3 | (08) |
| 6. | a) | Derive an expression for the output voltage of a single stage impulse generator. | CO3 | (08) |
|  | b) | Explain how the inductance of the current impulse generator is minimized? | CO3 | (04) |
|  | c) | With neat sketch explain the working of a resonant transformer and list any five advantages of it. | CO2 | (08) |
|  |  | UNIT- IV |  |  |
| 7. | a) | Explain the sphere gap arrangement for the measurement of High voltage and also list the factors affecting the measurement. | CO4 | (10) |
|  | b) | What is generating voltmeter? Explain with neat sketch how it is used for the measurement of High voltages. | CO4 | (10) |
| 8. | a) | Explain high ohmic series resistance with micro ammeter arrangement for the measurement of high voltage DC and list its limitations. | CO4 | (08) |
|  | b) | Discuss the Chubb-Fortescue method for the measurement of ac peak voltage. | CO4 | (07) |
|  | c) | Explain the potential dividers for impulse voltage measurements. | CO4 | (05) |
|  |  | UNIT- V |  |  |
| 9. | a) | Explain the high voltage Schering bridge for the tanδ and capacitance measurement of insulation. | CO5 | (10) |
|  | b) | What is partial discharge? Discuss the method of balanced detection for locating partial discharges in electrical equipment. | CO5 | (10) |
| 10. | a) | Explain different types of tests conducted on Transformers. | CO5 | (12) |
|  | b) | Discuss the types of tests conducted on high voltage bushings. | CO5 | (08) |

****************