| USN | 1 | M | S |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

(Autonomous Institute, Affiliated to VTU)

(Approved by AICTE, New Delhi & Govt. of Karnataka)

Accredited by NBA & NAAC with ‘A+’ Grade

SEMESTER END EXAMINATIONS – MARCH 2022

| Program | : | B.E.: Electrical and Electronics Engineering | Semester | : | VII |
| --- | --- | --- | --- | --- | --- |
| Course Name | : | High Voltage Engineering | Max. Marks | : | 100 |
| Course Code | : | EE72 / EE73(O) | Duration | : | 3 Hrs |

Instructions to the Candidates:

- Answer one full question from each unit.

|  |  | UNIT- I |  |  |
| --- | --- | --- | --- | --- |
| 1. | a) | Derive the Townsend’s current growth equation considering both the ionization processes with the proper notations. | CO1 | (10) |
|  | b) | In an experiment to determine α value in a gas, the measured values of currents under uniform electric field and constant E/P (E-Electric field; P-gas pressure) conditions were 5x10-10 A and 3x10-9A for gap distances of 4mm and 10 mm respectively. Calculate the value of α. Neglect secondary ionization effects. | CO1 | (04) |
|  | c) | Derive and explain Paschen’s Law. | CO1 | (06) |
| 2. | a) | What are limitations of Townsend’s theory? Hence explain how Streamer theory addresses these limitations. | CO1 | (08) |
|  | b) | What is ‘time lag’ of breakdown? Explain the two time lags of break down. | CO1 | (06) |
|  | c) | What is Ionization process? Explain any two ionization processes. | CO1 | (06) |
|  |  | UNIT – II |  |  |
| 3. | a) | What is intrinsic breakdown of a solid dielectric? | CO1 | (04) |
|  | b) | List the properties of a good liquid dielectric and explain the role of suspended particles in the breakdown of liquid dielectric. | CO1 | (08) |
|  | c) | A ten stage Cockraft-Walton circuit has all capacitors of 0.06 μF. The rms value of secondary voltage of the supply transformer is 141.4 kV at a frequency of 150 Hz. If the load current is 1 mA, determine: (i) voltage regulation (ii) the ripple (iii) the optimum number of stages for maximum output voltage (iv)the maximum output voltage. | CO2 | (08) |
| 4. | a) | Derive an expression for the voltage drop in an N-stage Cockcroft Walton voltage multiplier circuit and also explain the possibility if reducing it. | CO2 | (08) |
|  | b) | Discuss the treeing and tracking in solid dielectric. | CO1 | (06) |
|  | c) | What is a local breakdown in solid dielectric? How these cause the breakdown of the solid dielectric. | CO1 | (06) |
|  |  | UNIT – III |  |  |
| 5. | a) | Explain the working principle of resonant transformer and how is it advantageous over the cascade-connected transformers? | CO2 | (10) |
|  | b) | For the single stage impulse generator shown in the Fig.5(b), obtain an expression for the voltage across resistor ‘R’. Fig.5(b) | CO3 | (10) |
| 6. | a) | A 5-stage impulse generator has capacitors each rated at 0.63µF, 100kV. The capacitance of the test specimen is 5000pF. Determine the wave front, wave tail resistances and efficiency to produce a 1.2/50µs impulse wave using approximate formulae. | CO3 | (06) |
|  | b) | How are rectangular current pulses generated for testing purposes? How is their time duration controlled? | CO3 | (06) |
|  | c) | An impulse current generator is rated for 90kW-s. The parameters of the circuit are C=53µF, L=1.47µH and the dynamic resistance=0.0156 ohm. Determine the time-to-front and the time-to-tail of the current waveform. | CO3 | (08) |
|  |  | UNIT – IV |  |  |
| 7. | a) | Explain how a sphere gap can be used to measure the peak value of voltages. What are the parameters and factors that influence such voltage measurement? | CO4 | (12) |
|  | b) | Explain the principle and construction of an electrostatic voltmeter for very high voltage measurements. List the advantages and disadvantages. | CO4 | (08) |
| 8. | a) | Discuss the Chubb-Fortescue method for ac peak voltage measurement. | CO4 | (08) |
|  | b) | A coaxial shunt is to be designed to measure an impulse current of 50kA. If the bandwidth of the shunt is to be at least 10 MHz and if the voltage drop across the shunt should not exceed 50V, find the ohmic value of the shunt and its dimensions. Assume the resistivity of the tube material as 300 nΩ-m. | CO4 | (12) |
|  |  | UNIT – V |  |  |
| 9. | a) | Explain with the help of neat circuit diagram and vector diagram the method of measurement of capacitance and tanδ using High voltage Schering Bridge. | CO5 | (10) |
|  | b) | Explain the different power frequency high voltage and impulse voltage tests conducted on high voltage insulators. | CO5 | (10) |
| 10. | a) | What is partial discharge? Explain with neat diagram the Balanced detection method for the measurement of partial discharge. | CO5 | (10) |
|  | b) | With neat circuit diagram explain the impulse testing of high voltage transformers. What is the procedure adopted for locating the failure. | CO5 | (08) |
|  | c) | List out the different power frequency and high impulse voltage tests conducted on Bushings. | CO5 | (02) |

****************